## Orçamento
OBRA: |  | REVITALIZAÇÃO DE QUADRA - VILA GIÓIA
Tipo de Intervenção: |  | REFORMA E ADEQUAÇÃO |  |  | Área (m2) : |  | 1825.38
Endereço : |  | RUA ALFA, 164 - PARQUE MIRAFLORES - ITAPEVI / SP |  |  | Investimento (R$) : |  | #VALUE!
TAB. REF.: |  | CPOS 179 / FDE (Jul/20) / SINAPI (Jul/20) / SIURB Edif (Jan/20) |  |  | Valor/Área (R$/m2) : |  | #VALUE!
Item | Código | Ref. | Descrição dos Serviços | Un. | Qtd. | Custo un. | Custo Total | %
1 |  |  | QUADRA VILA GIÓIA | 0 |  |  |  | #DIV/0!
01.01 |  |  | ADMINISTRAÇÃO LOCAL | 0 |  |  |  | #DIV/0!
01.01.01 | 93572 | Sinapi-Jul/20 | Encarregado Geral De Obras Com Encargos Complementares | mes | 3 |  | 0 | #DIV/0!
01.01.02 | 90778 | Sinapi-Jul/20 | Engenheiro Civil De Obra Pleno Com Encargos Complementares | h | 120 |  | 0 | #DIV/0!
01.02 |  |  | CANTEIRO DE OBRA | 0 |  |  |  | #DIV/0!
01.02.01 | 02.02.130 | CPOS-179 | Locação De Container Tipo Escritório Com 1 Vaso Sanitário, 1 Lavatório E 1 Ponto Para Chuveiro - Área Mínima De 13,80 M² | unxmês | 3 |  | 0 | #DIV/0!
01.02.02 | 02.01.180 | CPOS-179 | Banheiro Químico Modelo Standard, Com Manutenção Conforme Exigências Da Cetesb | unxmês | 6 |  | 0 | #DIV/0!
01.03 |  |  | SERVIÇOS TÉCNICOS | 0 |  |  |  | #DIV/0!
01.03.01 | 01.02.071 | CPOS-179 | Parecer Técnico De Fundações, Contenções E Recomendações Gerais, Para Empreendimentos Com Área Construída Até 1.000 M² | un | 1 |  | 0 | #DIV/0!
01.03.02 | 01.17.051 | CPOS-179 | Projeto Executivo De Estrutura Em Formato A1 | un | 2 |  | 0 | #DIV/0!
01.03.03 | 90781 | Sinapi-Jul/20 | Topografo Com Encargos Complementares | h | 8 |  | 0 | #DIV/0!
01.04 |  |  | SERVIÇOS PRELIMINARES | 0 |  |  |  | #DIV/0!
01.04.01 | 173002 | Siurb (Edif)-Jan/20 | Placa De Obra Em Chapa De Aço Galvanizado | m2 | 12 |  | 0 | #DIV/0!
01.04.02 | 10101 | Siurb (Edif)-Jan/20 | Limpeza Mecanizada Geral, Inclusive Remoção Da Cobertura Vegetal - Troncos Com Diâmetro Até 10Cm - Sem Transporte | m2 | 596.72 |  | 0 | #DIV/0!
01.04.03 | 10105 | Siurb (Edif)-Jan/20 | Carga Mecanizada E Remoção De Entulho, Inclusive Transporte Até 1Km | m3 | 59.67 |  | 0 | #DIV/0!
01.04.04 | 10110 | Siurb (Edif)-Jan/20 | Transporte De Entulho Por Caminhão Basculante, A Partir De 1Km | m3xkm | 895.08 |  | 0 | #DIV/0!
01.04.05 | 02.10.020 | CPOS-179 | Locação De Obra De Edificação | m² | 192.84 |  | 0 | #DIV/0!
01.05 |  |  | DEMOLIÇÃO E RETIRADA | 0 |  |  |  | #DIV/0!
01.05.01 | 25005 | Siurb (Edif)-Jan/20 | Demolição Mecanizada De Concreto Simples | m3 | 38.41 |  | 0 | #DIV/0!
01.05.02 | 97627 | Sinapi-Jul/20 | Demolição De Pilares E Vigas Em Concreto Armado, De Forma Mecanizada Com Martelete, Sem Reaproveitamento. Af_12/2017 | m3 | 8.29 |  | 0 | #DIV/0!
01.05.03 | 175045 | Siurb (Edif)-Jan/20 | Demolição De Guias De Concreto | m | 69.15 |  | 0 | #DIV/0!
01.05.04 | 175048 | Siurb (Edif)-Jan/20 | Demolição De Sarjetas De Concreto | m | 69.15 |  | 0 | #DIV/0!
01.05.05 | 97625 | Sinapi-Jul/20 | Demolição De Alvenaria Para Qualquer Tipo De Bloco, De Forma Mecanizada, Sem Reaproveitamento. Af_12/2017 | m3 | 214.06 |  | 0 | #DIV/0!
01.05.06 | 97647 | Sinapi-Jul/20 | Remoção De Telhas, De Fibrocimento, Metálica E Cerâmica, De Forma Manual, Sem Reaproveitamento. Af_12/2017 | m2 | 114.71 |  | 0 | #DIV/0!
01.05.07 | 176097 | Siurb (Edif)-Jan/20 | Retirada De Portão Metálico | m2 | 2.69 |  | 0 | #DIV/0!
01.05.08 | 10105 | Siurb (Edif)-Jan/20 | Carga Mecanizada E Remoção De Entulho, Inclusive Transporte Até 1Km | m3 | 281.2776 |  | 0 | #DIV/0!
01.05.09 | 10110 | Siurb (Edif)-Jan/20 | Transporte De Entulho Por Caminhão Basculante, A Partir De 1Km | m3xkm | 4219.17 |  | 0 | #DIV/0!
01.06 |  |  | MOVIMENTAÇÃO DE TERRA | 0 |  |  |  | #DIV/0!
01.06.01 | 10303 | Siurb (Edif)-Jan/20 | Corte E Carregamento Para Bota-Fora, Inclusive Transporte Até 1Km | m3 | 162 |  | 0 | #DIV/0!
01.06.02 | 10310 | Siurb (Edif)-Jan/20 | Transporte De Terra Por Caminhão Basculante, A Partir De 1Km | m3xkm | 2430 |  | 0 | #DIV/0!
01.06.03 | 05.09.007 | CPOS-179 | Taxa De Destinação De Resíduo Sólido Em Aterro, Tipo Solo/Terra | m³ | 162 |  | 0 | #DIV/0!
01.06.04 | 10305 | Siurb (Edif)-Jan/20 | Fornecimento De Terra, Inclusive Corte, Carga, Descarga E Transporte Até 1Km | m3 | 132.53 |  | 0 | #DIV/0!
01.06.05 | 07.12.020 | CPOS-179 | Compactação De Aterro Mecanizado Mínimo De 95% Pn, Sem Fornecimento De Solo Em Campo Aberto | m³ | 132.53 |  | 0 | #DIV/0!
01.07 |  |  | GINÁSTICA | 0 |  |  |  | #DIV/0!
01.07.01 | 10410 | Siurb (Edif)-Jan/20 | Apiloamento Do Fundo De Valas, Para Simples Regularização | m2 | 90.52 |  | 0 | #DIV/0!
01.07.02 | 11.18.060 | CPOS-179 | Lona Plástica | m² | 90.52 |  | 0 | #DIV/0!
01.07.03 | 13.80.033 | FDE-Jul/20 | Tela Q-138 E Espaçador Treliçado P/Piso De Concreto | m2 | 90.52 |  | 0 | #DIV/0!
01.07.04 | 54.01.210 | CPOS-179 | Base De Brita Graduada | m³ | 4.53 |  | 0 | #DIV/0!
01.07.05 | 09.01.030 | CPOS-179 | Forma Em Madeira Comum Para Estrutura | m² | 25.87 |  | 0 | #DIV/0!
01.07.06 | 10.01.040 | CPOS-179 | Armadura Em Barra De Aço Ca-50 (A Ou B) Fyk = 500 Mpa | kg | 203.7 |  | 0 | #DIV/0!
01.07.07 | 11.01.320 | CPOS-179 | Concreto Usinado, Fck = 30 Mpa - Para Bombeamento | m³ | 13.58 |  | 0 | #DIV/0!
01.07.08 | 11.16.080 | CPOS-179 | Lançamento E Adensamento De Concreto Ou Massa Por Bombeamento | m³ | 13.58 |  | 0 | #DIV/0!
01.08 |  |  | QUADRA (piso) | 0 |  |  |  | #DIV/0!
01.08.01 | 03.03.020 | CPOS-179 | Apicoamento Manual De Piso, Parede Ou Teto | m² | 794.05 |  | 0 | #DIV/0!
01.08.02 | 87897 | Sinapi-Jul/20 | Chapisco Aplicado Em Alvenaria (Sem Presença De Vãos) E Estruturas De Concreto De Fachada, Com Equipamento De Projeção. Argamassa Traço 1:3 Com Preparo Em Betoneira 400 L. Af_06/2014 | m2 | 794.05 |  | 0 | #DIV/0!
01.08.03 | 17.03.040 | CPOS-179 | Cimentado Desempenado E Alisado (Queimado) | m² | 794.05 |  | 0 | #DIV/0!
01.08.04 | 72815 | Sinapi-Jul/20 | Aplicacao De Tinta A Base De Epoxi Sobre Piso | m2 | 794.05 |  | 0 | #DIV/0!
01.09 |  |  | QUADRA (fechamento) | 0 |  |  |  | #DIV/0!
01.09.01 | 14.10.111 | CPOS-179 | Alvenaria De Bloco De Concreto De Vedação De 14 X 19 X 39 Cm - Classe C | m² | 63 |  | 0 | #DIV/0!
01.09.02 | 17.02.020 | CPOS-179 | Chapisco | m² | 223.56 |  | 0 | #DIV/0!
01.09.03 | 17.02.120 | CPOS-179 | Emboço Comum | m² | 223.56 |  | 0 | #DIV/0!
01.09.04 | 33.10.050 | CPOS-179 | Tinta Acrílica Em Massa, Inclusive Preparo | m² | 223.56 |  | 0 | #DIV/0!
01.09.05 | 34.05.270 | CPOS-179 | Alambrado Em Tela De Aço Galvanizado De 2´, Montantes Metálicos Retos | m² | 210.73 |  | 0 | #DIV/0!
01.09.06 | 24.02.100 | CPOS-179 | Portão Tubular Em Tela De Aço Galvanizado Até 2,50 M De Altura, Completo | m² | 3.15 |  | 0 | #DIV/0!
01.09.07 | 33.11.050 | CPOS-179 | Esmalte À Base Água Em Superfície Metálica, Inclusive Preparo | m² | 3.15 |  | 0 | #DIV/0!
01.10 |  |  | QUADRA (encamisamento) | 0 |  |  |  | #DIV/0!
01.10.01 | 01.07.010 | FDE-Jul/20 | Lastro De Concreto - 5 Cm | m2 | 0.18 |  | 0 | #DIV/0!
01.10.02 | 09.01.030 | CPOS-179 | Forma Em Madeira Comum Para Estrutura | m² | 34.92 |  | 0 | #DIV/0!
01.10.03 | 10.01.040 | CPOS-179 | Armadura Em Barra De Aço Ca-50 (A Ou B) Fyk = 500 Mpa | kg | 460.8 |  | 0 | #DIV/0!
01.10.04 | 11.01.320 | CPOS-179 | Concreto Usinado, Fck = 30 Mpa - Para Bombeamento | m³ | 10.76 |  | 0 | #DIV/0!
01.10.05 | 11.16.080 | CPOS-179 | Lançamento E Adensamento De Concreto Ou Massa Por Bombeamento | m³ | 10.76 |  | 0 | #DIV/0!
01.11 |  |  | QUADRA (cobertura) | 0 |  |  |  | #DIV/0!
01.11.01 | 94228 | Sinapi-Jul/20 | Calha Em Chapa De Aço Galvanizado Número 24, Desenvolvimento De 50 Cm, Incluso Transporte Vertical. Af_07/2019 | m | 69.5 |  | 0 | #DIV/0!
01.11.02 | 60245 | Siurb (Edif)-Jan/20 | Telha Ondulada Em Aço Galvanizado Espessura De 0,50Mm, Revestimento B, H=17,5Mm | m2 | 198.52 |  | 0 | #DIV/0!
01.12 |  |  | CALÇADA | 0 |  |  |  | #DIV/0!
01.12.01 | 10410 | Siurb (Edif)-Jan/20 | Apiloamento Do Fundo De Valas, Para Simples Regularização | m2 | 166.78 |  | 0 | #DIV/0!
01.12.02 | 11.18.060 | CPOS-179 | Lona Plástica | m² | 166.78 |  | 0 | #DIV/0!
01.12.03 | 13.80.033 | FDE-Jul/20 | Tela Q-138 E Espaçador Treliçado P/Piso De Concreto | m2 | 166.78 |  | 0 | #DIV/0!
01.12.04 | 54.01.210 | CPOS-179 | Base De Brita Graduada | m³ | 8.34 |  | 0 | #DIV/0!
01.12.05 | 09.01.030 | CPOS-179 | Forma Em Madeira Comum Para Estrutura | m² | 30.44 |  | 0 | #DIV/0!
01.12.06 | 11.01.290 | CPOS-179 | Concreto Usinado, Fck = 25 Mpa - Para Bombeamento | m³ | 20.02 |  | 0 | #DIV/0!
01.12.07 | 11.16.080 | CPOS-179 | Lançamento E Adensamento De Concreto Ou Massa Por Bombeamento | m³ | 20.02 |  | 0 | #DIV/0!
01.12.08 | 101094 | Sinapi-Jul/20 | Piso Podotátil, Direcional Ou Alerta, Assentado Sobre Argamassa. Af_05/2020 | m | 1.25 |  | 0 | #DIV/0!
01.12.09 | 16.02.029 | FDE-Jul/20 | Ga-03 Guia E Sarjeta Tipo Pmsp | m | 69.15 |  | 0 | #DIV/0!
01.13 |  |  | PISTA DE CAMINHADA | 0 |  |  |  | #DIV/0!
01.13.01 | 10410 | Siurb (Edif)-Jan/20 | Apiloamento Do Fundo De Valas, Para Simples Regularização | m2 | 192.84 |  | 0 | #DIV/0!
01.13.02 | 11.18.060 | CPOS-179 | Lona Plástica | m² | 192.84 |  | 0 | #DIV/0!
01.13.03 | 13.80.033 | FDE-Jul/20 | Tela Q-138 E Espaçador Treliçado P/Piso De Concreto | m2 | 192.84 |  | 0 | #DIV/0!
01.13.04 | 54.01.210 | CPOS-179 | Base De Brita Graduada | m³ | 9.65 |  | 0 | #DIV/0!
01.13.05 | 09.01.030 | CPOS-179 | Forma Em Madeira Comum Para Estrutura | m² | 64.28 |  | 0 | #DIV/0!
01.13.06 | 11.01.320 | CPOS-179 | Concreto Usinado, Fck = 30 Mpa - Para Bombeamento | m³ | 28.93 |  | 0 | #DIV/0!
01.13.07 | 11.16.080 | CPOS-179 | Lançamento E Adensamento De Concreto Ou Massa Por Bombeamento | m³ | 28.93 |  | 0 | #DIV/0!
01.13.08 | 15.04.082 | FDE-Jul/20 | Tinta Latex Para Piso | m2 | 192.84 |  | 0 | #DIV/0!
01.14 |  |  | FECHAMENTO LATERAL | 0 |  |  |  | #DIV/0!
01.14.01 | 34.05.310 | CPOS-179 | Gradil De Ferro Perfilado, Tipo Parque | m² | 143.35 |  | 0 | #DIV/0!
01.15 |  |  | ARQUIBANCADA | 0 |  |  |  | #DIV/0!
01.15.01 | 10410 | Siurb (Edif)-Jan/20 | Apiloamento Do Fundo De Valas, Para Simples Regularização | m2 | 73.29 |  | 0 | #DIV/0!
01.15.02 | 11.18.040 | CPOS-179 | Lastro De Pedra Britada | m³ | 3.67 |  | 0 | #DIV/0!
01.15.03 | 09.01.030 | CPOS-179 | Forma Em Madeira Comum Para Estrutura | m² | 15.12 |  | 0 | #DIV/0!
01.15.04 | 13.80.033 | FDE-Jul/20 | Tela Q-138 E Espaçador Treliçado P/Piso De Concreto | m2 | 73.29 |  | 0 | #DIV/0!
01.15.05 | 10.01.040 | CPOS-179 | Armadura Em Barra De Aço Ca-50 (A Ou B) Fyk = 500 Mpa | kg | 586.32 |  | 0 | #DIV/0!
01.15.06 | 11.01.290 | CPOS-179 | Concreto Usinado, Fck = 25 Mpa - Para Bombeamento | m³ | 11 |  | 0 | #DIV/0!
01.15.07 | 11.16.080 | CPOS-179 | Lançamento E Adensamento De Concreto Ou Massa Por Bombeamento | m³ | 11 |  | 0 | #DIV/0!
01.15.08 | 14.05.060 | CPOS-179 | Alvenaria De Bloco Cerâmico Estrutural, Uso Revestido, De 19 Cm | m² | 18.9 |  | 0 | #DIV/0!
01.15.09 | 17.02.020 | CPOS-179 | Chapisco | m² | 93.09 |  | 0 | #DIV/0!
01.15.10 | 17.02.120 | CPOS-179 | Emboço Comum | m² | 93.09 |  | 0 | #DIV/0!
01.15.11 | 33.10.030 | CPOS-179 | Tinta Acrílica Antimofo Em Massa, Inclusive Preparo | m² | 93.09 |  | 0 | #DIV/0!
01.16 |  |  | MOBILIÁRIO URBANO | 0 |  |  |  | #DIV/0!
01.16.01 | 170385 | Siurb (Edif)-Jan/20 | Iv.06 - Lixeira Junto Ao Alinhamento Com Revestimento Interno Em Azulejos | un | 2 |  | 0 | #DIV/0!
01.16.02 | 16.07.022 | FDE-Jul/20 | Bc-24 Banco De Concreto Pre-Fabricado (L=115Cm) | un | 7 |  | 0 | #DIV/0!
01.17 |  |  | ELÉTRICA | 0 |  |  |  | #DIV/0!
01.17.01 | 41.10.330 | CPOS-179 | Poste Telecônico Reto Em Aço Sae 1010/1020 Galvanizado A Fogo, Altura De 10,00 M | un | 7 |  | 0 | #DIV/0!
01.17.02 | 41.11.450 | CPOS-179 | Suporte Tubular De Fixação Em Poste Para 2 Luminárias Tipo Pétala | un | 7 |  | 0 | #DIV/0!
01.17.03 | 41.11.100 | CPOS-179 | Luminária Retangular Fechada Para Iluminação Externa Em Poste, Tipo Pétala Grande | un | 14 |  | 0 | #DIV/0!
01.17.04 | 41.05.720 | CPOS-179 | Lâmpada De Vapor Metálico Tubular, Base G12 De 150 W | un | 14 |  | 0 | #DIV/0!
01.17.05 | 41.08.440 | CPOS-179 | Reator Eletromagnético De Alto Fator De Potência, Para Lâmpada Vapor Metálico 150 W / 220 V | un | 14 |  | 0 | #DIV/0!
01.17.06 | 39.02.016 | CPOS-179 | Cabo De Cobre De 2,5 Mm², Isolamento 750 V - Isolação Em Pvc 70°C | m | 154 |  | 0 | #DIV/0!
01.17.07 | 39.02.020 | CPOS-179 | Cabo De Cobre De 4 Mm², Isolamento 750 V - Isolação Em Pvc 70°C | m | 324 |  | 0 | #DIV/0!
01.17.08 | 39.02.040 | CPOS-179 | Cabo De Cobre De 10 Mm², Isolamento 750 V - Isolação Em Pvc 70°C | m | 96 |  | 0 | #DIV/0!
01.17.09 | 37.03.240 | CPOS-179 | Quadro De Distribuição Universal De Embutir, Para Disjuntores 56 Din / 40 Bolt-On - 225 A - Sem Componentes | un | 1 |  | 0 | #DIV/0!
01.18 |  |  | DRENAGEM | 0 |  |  |  | #DIV/0!
01.18.01 | 101176 | Siurb (Edif)-Jan/20 | Canaleta meia cana em concreto D=30CM | m | 94.81 |  | 0 | #DIV/0!
01.18.02 | 101190 | Siurb (Edif)-Jan/20 | HC.05 - Grelha de concreto para canaleta - L=30CM - sem passagem de veículos | m | 94.81 |  | 0 | #DIV/0!
01.19 |  |  | PAISAGISMO | 0 |  |  |  | #DIV/0!
01.19.01 | 34.02.100 | CPOS-179 | Plantio De Grama Esmeralda Em Placas (Jardins E Canteiros) | m² | 405.96 |  | 0 | #DIV/0!
01.19.02 | 180220 | Siurb (Edif)-Jan/20 | Ipê Amarelo Do Brejo (Handroanthus Umbellatus) | un | 5 |  | 0 | #DIV/0!
01.19.03 | 180291 | Siurb (Edif)-Jan/20 | Quaresmeira (Tibouchina Granulosa) | un | 3 |  | 0 | #DIV/0!
TOTAL GERAL | [5 empty] | 0 |  | #DIV/0!
TOTAL GERAL COM BDI |  |  |  |  | XX,XX | #VALUE! |  | #VALUE!

## Cronograma Mensal
OBRA: | REVITALIZAÇÃO DE QUADRA - VILA GIÓIA
Tipo de Intervenção: REFORMA E ADEQUAÇÃO
Endereço : | RUA ALFA, 164 - PARQUE MIRAFLORES - ITAPEVI / SP
Item | Descrição | Peso | Valor do Serviço | 1 | 2 | 3
|  | % | R$
1 | QUADRA VILA GIÓIA | #DIV/0! | #VALUE! |  |  |  | 0%
|  |  |  | #VALUE! | #VALUE! | #VALUE!
| Sub-Total | #DIV/0! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Total Geral | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## Cronograma Semanal (hidden)
PREFEITURA DO MUNICÍPIO DE ITAPEVI
ESTADO DE SÃO PAULO
SECRETARIA DE INFRA ESTRUTURA E SERVIÇOS URBANOS
OBRA: | REVITALIZAÇÃO DE QUADRA - VILA GIÓIA |  |  | Área (m2) : |  |  | 1825.38 | [6 empty] | Área (m2) : |  |  | 1825.38 | [6 empty] | Área (m2) : |  |  | 1825.38 | [6 empty] | Área (m2) : |  |  | 1825.38 | [6 empty] | Área (m2) : |  |  | 1825.38 | [6 empty] | Área (m2) : |  |  | 1825.38 | [6 empty] | Área (m2) : |  |  | 1825.38 | [6 empty] | Área (m2) : |  |  | 1825.38 | [6 empty] | Área (m2) : |  |  | 1825.38
Tipo de Intervenção: REFORMA E ADEQUAÇÃO |  |  |  | Investimento (R$) : |  |  | #VALUE! | [6 empty] | Investimento (R$) : |  |  | #VALUE! | [6 empty] | Investimento (R$) : |  |  | #VALUE! | [6 empty] | Investimento (R$) : |  |  | #VALUE! | [6 empty] | Investimento (R$) : |  |  | #VALUE! | [6 empty] | Investimento (R$) : |  |  | #VALUE! | [6 empty] | Investimento (R$) : |  |  | #VALUE! | [6 empty] | Investimento (R$) : |  |  | #VALUE! | [6 empty] | Investimento (R$) : |  |  | #VALUE!
Endereço : | RUA ALFA, 164 - PARQUE MIRAFLORES - ITAPEVI / SP |  |  | Valor/Área (R$/m2) : |  |  | #VALUE! | [6 empty] | Valor/Área (R$/m2) : |  |  | #VALUE! | [6 empty] | Valor/Área (R$/m2) : |  |  | #VALUE! | [6 empty] | Valor/Área (R$/m2) : |  |  | #VALUE! | [6 empty] | Valor/Área (R$/m2) : |  |  | #VALUE! | [6 empty] | Valor/Área (R$/m2) : |  |  | #VALUE! | [6 empty] | Valor/Área (R$/m2) : |  |  | #VALUE! | [6 empty] | Valor/Área (R$/m2) : |  |  | #VALUE! | [6 empty] | Valor/Área (R$/m2) : |  |  | #VALUE!
Item | Descrição | Peso | Valor do Serviço | 1 |  |  |  |  | 2 |  |  |  |  | 3 |  |  |  |  | 4 |  |  |  |  | 5 |  |  |  |  | 6 |  |  |  |  | 7 |  |  |  |  | 8 |  |  |  |  | 9 |  |  |  |  | 10 |  |  |  |  | 11 |  |  |  |  | 12 |  |  |  |  | 13 |  |  |  |  | 14 |  |  |  |  | 15 |  |  |  |  | 16 |  |  |  |  | 17 |  |  |  |  | 18
|  | % | R$ | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5 | sem1 | sem2 | sem3 | sem4 | sem5
1 | QUADRA VILA GIÓIA | #DIV/0! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0% | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF! |  |  |  |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 1 sem1: #REF!; 2 sem1: #REF!; 3 sem1: #REF!; 4 sem1: #REF!; 5 sem1: #REF!; 6 sem1: #REF!; 7 sem1: #REF!; 8 sem1: #REF!; 9 sem1: #REF!; 10 sem1: #REF!; 11 sem1: #REF!; 12 sem1: #REF!; 13 sem1: #REF!; 14 sem1: #REF!; 15 sem1: #REF!; 16 sem1: #REF!; 17 sem1: #REF!; 18 sem1: #REF! | #REF!
| Sub-Total | #REF! | #REF! | 1 sem1: #REF!; 2 sem1: #REF!; 3 sem1: #REF!; 4 sem1: #REF!; 5 sem1: #REF!; 6 sem1: #REF!; 7 sem1: #REF!; 8 sem1: #REF!; 9 sem1: #REF!; 10 sem1: #REF!; 11 sem1: #REF!; 12 sem1: #REF!; 13 sem1: #REF!; 14 sem1: #REF!; 15 sem1: #REF!; 16 sem1: #REF!; 17 sem1: #REF!; 18 sem1: #REF!
| Total Geral | #REF! | #REF! | 1 sem1: #REF!; 2 sem1: #REF!; 3 sem1: #REF!; 4 sem1: #REF!; 5 sem1: #REF!; 6 sem1: #REF!; 7 sem1: #REF!; 8 sem1: #REF!; 9 sem1: #REF!; 10 sem1: #REF!; 11 sem1: #REF!; 12 sem1: #REF!; 13 sem1: #REF!; 14 sem1: #REF!; 15 sem1: #REF!; 16 sem1: #REF!; 17 sem1: #REF!; 18 sem1: #REF!
0
| ________________________________________ | ________________________________________
| 0 | 0
| 0 | 0
0
0

## Resumo
OBRA: | REVITALIZAÇÃO DE QUADRA - VILA GIÓIA
Tipo de Intervenção: REFORMA E ADEQUAÇÃO
Endereço : | RUA ALFA, 164 - PARQUE MIRAFLORES - ITAPEVI / SP
TAB. REF.: | CPOS 179 / FDE (Jul/20) / SINAPI (Jul/20) / SIURB Edif (Jan/20)
ITEM | DESCRIÇÃO DOS SERVIÇOS | VALOR TOTAL (sem BDI) | VALOR TOTAL (com BDI) | %
1 | QUADRA VILA GIÓIA | 0 | #VALUE! | #DIV/0!
TOTAL GERAL |  | 0 | #VALUE! | #DIV/0!